THE HEALTH CENTER

EMERGENCY ACTION PLAN

THE HEALTH CENTER EMERGENCY ACTION PLAN

Table of Contents

Table of Contents	2

Policy and Objectives.	3

Emergency Defined.	3

General Instructions to all staff.	3

Area Captains.	3

Other Emergency Procedures and Assignments.	4

Medical records staff is responsible to:	5

Remaining office staff is responsible to:	5

Exit/Evacuation routes.	5

Post-Evacuation Assembly and Information Procedures.	5

Location of Fire Alarms and Fire Extinguishers.	6

Emergency Codes.	6

Emergency Drills.	7

Training.	7

Input/Revisions.	7

Appendices	8

APPENDIX A	8

APPENDIX  B	9

APPENDIX C	12

APPENDIX :  OTHER EMERGENCIES	13

APPENDIX E:  DETAIL MAPS	14

APPENDIX F: EMERGENCY ACTION CHECKLIST	15

APPENDIX G:  EMERGENCY TELEPHONE NUMBERS	16

APPENDIX H: AUTOMATED SECURITY PROCEDURES	17

THE HEALTH CENTER

MAIN LOCATION EMERGENCY ACTION PLAN

Policy and Objectives.

A.	The Health Center (THC) wants all staff members to be prepared for evacuation in the event of an emergency for their own safety as well as for the safety of anyone visiting the Center. This plan will he distributed to all employees, who are encouraged to read it thoroughly and to keep a copy within easy reach should an emergency arise.

B.	THC's Director of Human Resources and Facilities is the Center's Safety Program Coordinator. The Director has developed this plan, is responsible for its overall operation, and will review and update it as necessary.

C.	If an emergency occurs, the first objective for each employee/staff member is to keep calm. This plan depends upon coordinated teamwork, and every staff member is a part of the team. Don't panic. Don't shout fire. Don't run to the nearest exit. Every staff member and patient in this facility is depending upon the staff to respond in a calm and coordinated manner to the emergency, following the procedures outlined in this plan.

Emergency Defined.

A.	These emergency evacuation procedures and assignments are designed to respond to many potential types of emergencies involving the widespread interruption of normal Center operations and evacuation/assembly of patients and staff, including fire, flood, gas leaks, chemical spills, explosions, major chemical contamination, bomb threats, tornadoes, and other civil defense emergencies.

B.	General guidelines for responding to emergencies of these types are contained in the main portions of this plan. Additional guidelines for responding to specific emergencies are contained in the appendixes.

General Instructions to all staff.

A.	Familiarize yourself with the location of the nearest fire alarm box (Section VIII).

B.	Check the evacuation routes listed in this plan (Section VI) and familiarize yourself with the exits located near you.

C.	Familiarize yourself with the duties expected of you as covered in this plan. D. Participate in all emergency drills.

D.	Close all windows and doors (except for bomb threats, when doors are to be left open).

E.	Reassure patients and any visitors in your area.

F.	When you have performed the duties expected of you as listed in this plan, evacuate the area to a safe place, taking any remaining patients or visitors with you.

G.	Remember - fear and panic can do as much damage as fire. Remain calm.

Area Captains.

A.	Captains are designated by position for each area as follows:

1.	Reception Area - Head Receptionist at Front Desk

2.	Medical Records - Medical Records Supervisor or Acting Chief

3.	Administrative Wing (Conference Areas, Finance, CEO, HR) - HR Admin Asst

4.	Practitioner Wing (practitioners' Office, Social Services, Information Services, Mechanical Room) - QA Nurse

5.	Clinical Area/Wing - Nurse Manager or Acting Nurse Manager

B.	Area Captains are responsible to:

1.	Coordinate the overall operations of this plan in their area during an emergency.

2.	Oversee the orderly and safe evacuation of staff, patients, and visitors from their area.

3.	Assist in collecting/verifying attendance and reporting it to the HR Director.

4.	Operating fire extinguishers when necessary.

Other Emergency Procedures and Assignments.

A.	The staff member who identifies the emergency:

1.	Calls for "HELP" (if they are unable to get to a phone) and pulls the fire alarm for any emergency requiring evacuation. (Tornado alerts will be announced over the paging system and reported to the Director of Human Resources.) Use the Emergency Codes listed in Section IX to announce the emergency to staff and over the paging system.

2.	Removes anyone who is in immediate danger.

3.	In the event of a small fire, an attempt should be made to smother the fire. Fire extinguishers should be used only by those trained to use them (e.g., Area Captains or others who have been trained).

B.	Receptionists are responsible to:

1.	For actual emergencies, call 911, giving the emergency dispatcher their name, Keystone's address, phone number, the nature of the emergency and its location. For drills, County Dispatch (County Control) will be notified at 263-1611, in accordance with Part B, Section X of this plan.

2.	Remove that day's schedules from the building when he/she evacuates.

3.	Evacuate the lobby, the bathrooms located in the lobby area, and the waiting area of all persons in those areas.

4.	For all emergencies except tornadoes, evacuate to the front of the building through the most direct route available (normally the front doors). See Appendix C for instructions during tornado emergencies.

5.	Once outside, verify and identify all patients have been evacuated according to the schedules.

C.	Cashier is responsible to:

1.	Remove all cash and receipts from the cash drawer.

2.	Assist the receptionists with their duties and, except during a tornado emergency (Appendix C), evacuate to the front of the building, using the most direct route available.

D.	Nursing staff is responsible to:

1.	Evacuate all exam rooms and lab, closing the doors and windows (unless for a bomb threat, when doors and windows are to be left untouched).

2.	Evacuate all patient bathrooms in the clinic area.

3.	Evacuate the nursing pods and office areas in the clinic area.

4.	Remove patient and staff schedules to verify patients and clinical staff have been evacuated.

5.	Except during tornado emergencies (Appendix C), evacuate all patients and visitors in the clinic area to the outside through the nearest exit.

6.	Once outside, escort patients to the front of the building for reception to verify attendance.

7.	 Give attendance report on patients, nursing and practitioner staff.

8.	Perform triage and assist practitioners in providing medical assistance to any injured patients and staff.

Medical records staff is responsible to:

9.	Except for tornado alerts (Appendix C), evacuate the medical records area.

10.	Evacuate the bathroom in the cafeteria area and close the door to the cafeteria (except for bomb threats, when doors are to be left untouched).

11.	For all emergencies except tornadoes, evacuate the building through the employee entrance next to the cafeteria.

Remaining office staff is responsible to:

12.	Evacuate their work areas, shutting any windows and closing their doors behind (except for bomb threats, when doors and windows are to be left untouched).

13.	Assist other office staff as needed.

14.	Except for tornado emergencies (Appendix C), evacuate the building through the nearest safe exit.

E.	Supervisors and Senior Managers are responsible to take attendance in their respective areas once evacuation/assembly is completed and report it to the Director of Human Resources.

F.	The Director of Human Resources is responsible for the overall operation of this plan. The Director will:

1.	Oversee the evacuation/assembly process and assist as needed.

2.	Direct and coordinate the activities of the Area Captains.

3.	Receive attendance reports from the supervisors and senior managers.

4.	Be a resource person for the staff and emergency personnel.

Exit/Evacuation routes.

A.	All emergency evacuations should take place using the nearest exit without risk of endangerment.

B.	Evacuations should be done in a calm and swift manner. (DO NOT RUN!)

C.	Detail maps showing the location of Center exits are included at Appendix E. D. Staff, patients and visitors should evacuate using one of the following exits when able:

1.	Front Entrance (exit to the front parking lot).

2.	South Employee Entrance (exit to the side parking lot).

3.	North Employee Entrance (exit at the back of the clinic area).

Post-Evacuation Assembly and Information Procedures.

A.	Once evacuated, staff and patients should move away from the building and assemble in the following areas to enable verification of attendance and to await further instructions:

1.	Patients, Reception, Cashiers. Front parking lot at the front of the building.

2.	Medical Records and other Office Staff from the Administrative Wing and Practitioners' Wing. Outside the South Employee Entrance, in the side parking lot area off the cafeteria.

3.	Clinical Wing (Nurses, Practitioners, other staff working in the Clinic area). Side parking lot by the Clinic exits.

B.	Do not block access to the building by vehicles and emergency personnel.

C.	No one should reenter the building until emergency personnel have given the all clear.

D.	The CEO or Emergency Personnel will make any statements to reporters. Please refer any questions to them.

Location of Fire Alarms and Fire Extinguishers.

A.	Detail maps of THC showing the locations of fire alarms and extinguishers are included at Appendix E.

B.	There are 5 fire alarm pull stations, located:

1.	In the back of the Clinic area, by each of the exit doors to the outside.

2.	By the exit door in the cafeteria.

3.	By the South employee entrance door directly across from the cafeteria.

4.	Inside the main entrance doors.

C.	There are 5 fire extinguishers, located:

1.	Directly inside the entrance to the Clinic area from the lobby.

2.	 Across from the Nurse Manager's office, outside the lab in the Clinic area.

3.	 At the back entrance to the Clinic area, across from the Northwest

4.	employee entrance.

5.	Across from the cafeteria, by the South employee entrance.

6.	 In the lobby area, by the main entrance doors.

Emergency Codes.

A.	To minimize patient panic and alert staff to instructions which are needed to properly respond to specific emergencies, the following universal codes will be used when verbally calling out emergencies from one staff person to another in the building and in announcing emergencies over the paging system:

Code Red/Dr. Red	Fire Emergency

Code Black/Dr. 	BlackBomb Threat

Code White/Dr. White	Tornado Alert

Code Zero External	External Emergency or disaster

Code Zero Internal	Internal Emergency or disaster

Code Orange	Medical Emergency involving a visitor, patient or staff

Dr. Armstrong	Help needed for a violent patient

Emergency Drills.

A.	There will be at least 1 fire drill each year, and others may be requested.

B.	Drills may also be held to test evacuation procedures for other emergencies (e.g., bomb threats and tornadoes).

C.	_____ County Emergency Dispatch (County Control) will be notified that we are conducting a test/drill (xxx-xxxx). The Security System will also be notified (1-800-xxx-xxxx). Fire Chief will be notified if we wish to have the fire department present for a drill (xxx-xxxx).

D.	All personnel shall respond to all drills as in an actual emergency unless it is announced otherwise over the paging system. The success of controlling any disaster depends upon the full cooperation and participation of all staff, and we ask that all staff members give their fullest cooperation.

E.	Study the instructions and guidelines set out in this plan. They will help you respond to any emergency.

F.	Keep this plan in a handy place where you can read it at any time.

G.	Remember - do not get excited and shout fire. Panic and fear can increase the potential for harm in any emergency.

Training.

A.	This plan will be presented and discussed in senior manager and supervisor meetings.

B.	All employees will be briefed and will receive a copy of this plan.

C.	Supervisors and senior managers will present and discuss the plan with their staffs in staff/inservice meetings.

D.	Area Captains will receive additional training on emergency evacuation procedures and will be trained on the operation of fire extinguishers.

E.	Operation of the plan will be tested through periodic drills.

Input/Revisions.

A.	This plan will be reviewed and updated as needed.

B.	Employees are encouraged to submit suggestions for improvement to the Director of Human Resources and Facilities.

-

Appendices

APPENDIX A

FIRE EMERGENCIES

Specific staff responsibilities, exit/evacuation routes, locations of fire alarms, fire extinguishers, and post evacuation procedures are spelled out in detail in the main portions of this plan (Sections III through VIII). In summary, the best thing anyone can remember whenever a fire emergency occurs is the following 4 steps, symbolized by the acronym R - A - C - E:

1.	Remove any patients and staff in immediate danger.

2.	Pull the  Alarm and notify 911 of the location and specifics involved.

3.	Do what can be done to contain the fire. Close all doors and windows.

4.	Extinguish the fire (if appropriate) and Evacuate. Use fire extinguishers  and other appropriate equipment at hand to extinguish a fire. DO NOT put  yourself at risk or take unnecessary chances. Use only the equipment you are trained or know how to work. If a fire cannot be quickly contained or  smothered, it is more important to evacuate and let trained emergency   personnel take over. Evacuate patients and staff through the nearest safe  exit. Once outside, assemble where specified, triage and treat the injured, await further instructions from area captains and emergency personnel.

FIRE ALARM PROCEDURE

There may be occasions when the fire alarm is activated and it is not clear what or who  set it off. To check and take appropriate follow up action:

PROCEED to the red keypad by the employee entrance to the Cafeteria.

READ the red keypad.

REFERENCE the outline filed beneath the keypad and/or the map within the Maintenance Room for Center location identified.

CHECK the location(s) within the building for actual fire or false alarm purposes.

IF A FIRE:                                                                                    IF A FALSE ALARM:

Leave the alarm sound;                                                               Press xxxx on the red wall keypad;

Begin evacuating the building                                                     Call 1-800-xxx-xxxx;

and follow other fire emergency                                                 Tell operator it was a false alarm;

procedures;                                                                                   Give the password;

Fire Company will be dispatched                                               Notify County Dispatch also

automatically.                                                                               (xxx-xxxx).

During normal business hours, the Director of Human Resources will follow this procedure. In the evenings and on weekends, the appropriate person in charge/Area Captain on duty will act on it.

APPENDIX  B

BOMB THREAT PROCEDURE

Bomb threats are usually in the form of a telephone call, but they could be made in person or by letter.

Bomb threats received by telephone will be handled in the following manner:

I)	For Calls Received During Regular Business Hours:

A)	The staff member who receives a bomb threat will:

1)	Obtain as much information as possible from the caller;

2)	During, or immediately following the call, complete the Bomb Threat Checklist (copy attached);

3)	Attempt to record the exact wording of the bomb threat;

4)	Notify the following management personnel immediately:

(a)	Immediate Supervisor; if not available, the Division Supervisor.

(b)	Division Supervisor should notify the CEO for immediate action.

(c)	If the CEO is not available, the Director of Human Resources and

(d)	Facilities should be notified.

B)	The CEO or Director of Human Resources and Facilities will:

1)	Insure that the Franklin County Dispatch is notified (263-1611);

2)	Depending on the actual bomb threat message, determine when to notify employees of the threat;

3)	When the timing of the announcement to employees has been determined, inform employees that a bomb threat has been received; this will be done by announcing "Please respond to Dr. Black" over the paging system.

4)	Evacuate the facility until a search of the complex has been completed;

C)	Each supervisor will be in charge of evacuating employees in his/her area. Evacuations should follow the procedures specified in the main portions of this plan (parts V, VI, and VII), except doors should be left ~ and lights should be left Q!! to facilitate the search.

1)	Upon completion of the search with no bomb located, notify employees that they may return to work with no loss of pay;

2)	If a bomb is located, coordinate with emergency personnel to determine when dismantling will be complete and a return to work can be safely accomplished.

3)	Insure that no employee attempts to dismantle or handle the suspected bomb.

II)	For Calls Received Outside Regular Business Hours.

A)	The person who receives a bomb threat will:

1)	Obtain as much information as possible from the caller;

2)	During, or immediately following the call, complete the Bomb Threat Checklist (copy attached);

3)	Attempt to record the exact wording of the bomb threat;

4)	Notify the following management personnel immediately:

(a)	Immediate Supervisor; if not available, contact the Division Supervisor at home.

(b)	The Division Supervisor should notify the CEO for immediate action.

(c)	If the CEO is not available, he Director of Human Resources and Facilities should be notified.

B)	The Division Supervisor will:

1)	If the building is occupied after regular hours, determine if immediate evacuation is necessary. If so, proceed with evacuation. The decision must be made based on available facts. Safety of employees is of primary concern. Each supervisor will be in charge of evacuating employees in his/her area. Evacuations should follow the procedures specified in the main portions of this plan (parts V, VI, and VII), except doors should be left ~ and lights should be left on Supervisors should take a copy of the completed Bomb Threat Checklist with them and a copy of the patient schedule. Supervisors should also notify any employees who are scheduled to report to work not to report until called;

2)	Notify management personnel at home in the following order:

C)	CEO Director, Human Resources and Facilities CFO will

D.	Have information on the bomb threat report form available to discuss with the members of management contacted;

E.	If immediate evacuation is necessary, or if evacuation is made after contacting a member of management at home, notify the Franklin County Dispatch at 263-1611.

F.	In coordination with emergency personnel dispatched by County Dispatch, conduct a search of the facility.

G.	Upon completion of the search with no bomb located, notify employees that they should return to work with no loss of pay.

H.	Or, if a bomb is located, determine in conjunction with the dispatch team how long it will take to remove the threat, coordinate patient and staff notifications, and make a decision to dismiss on duty employees without loss of pay if necessary.

I.	Ensure no employees attempt to handle or dismantle a suspected bomb.

III)	For Bomb Threats Received In Person Or By Mail.

A.	The individual receiving the bomb threat will notify a member of management as outlined in I above, or the Division Supervisor as outlined in D above, depending on whether the message is received during or outside regular business hours.

B.	Once the appropriate individual is notified, the same procedures will be followed as in I or D above.

Attachment: Bomb Threat Checklist

BOMB THREAT CHECKLIST

BOMB THREAT INFORMATION RECEIVED:

DATE:                  TIME:                              PLACE:

IF BY PHONE:

LINE #                                  INTERNAL EXTENSION #                                            OTHER

EXACT MESSAGE RECEIVED:

IF BOMB OR EXPLOSIVE:

WHERE?

TYPE OF EXPLOSIVE?                                                     WHEN- TME?

WHY?

INFORMATION ON CALLER:

WHERE IS CALLER? (Include background and level of noise)

INFORMATION ON CALLER

WHO IS CALLER? * NAME (if given) I

* If the caller has not given his or her name, ask for it; sometimes it is blurted out

unintentionally. This should be done as a final attempt for more information since it could also have the effect ,of abruptly ending the conversation.

SEX:                MALE                          PITCH OF VOICE:                            Low                Moderate                        High

FEMALE

SPEECH CHARACTERISTICS:                   Stuttering                                     Unusual Accent

Peculiar Grammar

Other

ESTIMATE OF AGE:

ACTION TAKEN:

Who was notified, etc. ?

(Continue on back if needed)

APPENDIX C

TORNADO EMERGENCY PLAN

I)	When a tornado watch is in effect:

(a)	The Director of Human Resources or designee will listen for updates on the local weather station/channel.

(b)	The Director, in coordination with the CEO, will determine when and if emergency procedures should be initiated.

II)	When a tornado warning has been issued:

1)	The Director of Human Resources or other person designated by the CEO will announce over the paging system that a tornado warning is in effect and all staff and patients should take cover in the designated secure areas.

2)	Staff should follow the work area closeout and emergency procedures designated in the main parts of this plan (parts IV and V of the basic plan) except that evacuation will be to one of the areas listed below.

III)	Emergency Assembly Areas.

1)	Clinic: Staff, patients and visitors in the clinic area will assemble in the following areas to await the all clear:

2)	Lab

3)	Nurse Manager's Office

4)	Bathrooms located adjacent to the Lab

5)	Reception and Administrative Areas (all areas outside the clinic area):

6)	Staff, patients, and visitors will assemble in the following to await the all clear:

7)	Medical Records

8)	Reception Supervisor's Office

IV)	Post Evacuation Procedures and All Clear.

1)	No one should leave the assembly areas until the all clear is received.

2)	The Director, Human Resources, in coordination with the CEO, will issue the all clear and any further instructions when it has been determined it is safe to return to work or to dismiss, whichever is appropriate under the circumstances.

APPENDIX :  OTHER EMERGENCIES

There are a number of other emergencies not specifically covered elsewhere in this plan which may occur and involve interruption of normal operations, participation of Health Center staff, and/or evacuation of Health Center staff and patients. To a large extent, the steps to be taken in any specific case will depend upon the particular type of emergency.

The Director of Human Resources and Facilities is the Safety Manager for the Center. The Director, in coordination with the CEO, Chief Medical Officer, and other appropriate Center and emergency personnel, will determine the steps to be taken in responding to any specific emergency not otherwise covered in this plan. These could include, for example:

A. Community mass casualty in general. First responders in these situations are the community's emergency personnel and Hospital/Summit Health resources. Center personnel will respond to situations of this nature as requested by the hospital and as needed to augment community medical resources.

B. Mass casualty near the Center. If a mass casualty situation occurs in the immediate vicinity of the Center, practitioners at the Center will respond and assist in triage and emergency treatment as appropriate. A situation of this nature will normally not require evacuation of staff and patients, but may require cessation of normal Center operations.

C. Electrical outages. water supply interruptions. heating or air conditioning (BV AC) failures. Systemic failures of this nature mayor may not require evacuation but could involve disruption of normal operations. Steps for dealing with these types of emergencies will be developed in coordination

with the Center's Maintenance Contractor (Quality Building Services). The Center will have on hand flashlights for use in emergencies of this nature.

D. Chemical spills. contamination. etc. Center personnel will contact Emergency Dispatch at 911 to request assistance and will follow the instructions of trained Hazardous Materiel (HAZMAT) personnel responding. as to what needs to be done regarding evacuation or restricted access/egress until the emergency can be resolved

The foregoing list is not all-inclusive and is intended for general guidance only. The specifics in any situation will be determined by the situation. The contents of this plan will be expanded and further developed as needed, both in anticipation of any specific emergency and/or as an after action following an emergency. However, this basic plan and appendixes should serve as a one-step guide and general resource document to follow in any situation requiring interruption of normal Center operations and evacuation of staff and patients.

APPENDIX E:  DETAIL MAPS

APPENDIX F: EMERGENCY ACTION CHECKLIST

YES                NO

1.	Was the alarm pulled (or announcement made -- over the paging system)?

2.	Did staff hear the alarm (or page)? - -

3.	Did staff know what to do?

4.	Were patients given appropriate assistance to exit?

5.	Were restrooms checked?

6.	Were windows shut?

7.	Were doors closed?

8.	Did staff evacuate or assemble in an orderly manner?

9.	Were preplanned evacuation/assembly routes used?

10.	Were the evacuation/assembly routes adequate?

11.	 Was anyone left behind?

12.	Did everyone know where to assemble?

13.	Was attendance taken and reported to the HR Director?

14.	Did cashiers bring out cash and receipts?

15.	Were the daily schedules used to check patient attendance?

16.	Were all patients evacuated and accounted for?

17.	Were all employees/staff evacuated and accounted for?

18.	Were  wounded" patients and staff adequately triaged?

19.	How long did it take staff and patients to evacuate?

20.	Time of announcement:

21.	Time last person arrived at assembly point

22.	Problems experienced?

23.	Suggestions for improvements?

Use the remaining space here and on the back to expand on answers to any questions or areas covered above:

APPENDIX G:  EMERGENCY TELEPHONE NUMBERS

APPENDIX H: AUTOMATED SECURITY PROCEDURES

The Health Center is protected by an automated telephone security and fire alarm system.

All Center managers and supervisors as well as the Maintenance supervisor maintain instructions for arming and disarming the system.

Staff who are trained and need to know how to operate this system can use this Appendix to file short form/summary instructions. Instructions for checking the fire alarm when it activates are included in Appendix A, Fire Emergencies.

Anyone who has questions about the system can ask their supervisors or Human Resources and Facilities personnel.

QUICK REVIEW - EMERGENCY ACTIONS

FIRE . PULL ALARM/CALL 911

·	USE FIRE EXTINGUISHER ON SMALL FIRES

·	CLOSE WINDOWS & DOORS

·	EVACUATE PATIENTS AND STAFF

·	ACCOUNT FOR ALL PATIENTS & STAFF

·	OUTSIDE

BOMB THREAT . RECORD BOMB THREAT MESSAGE (USE TIIREAT FORM ATTACHED)

·	NOTIFY SUPERVISOR/CEO

·	DO NOT CLOSE DOORS OR EXTINGUISH  LIGHTS

TORNADO . ASSEMBLE EVERYONE IN DESIGNATED ALERT AREAS

·	LAB/CLINIC INTERIOR

·	RESTROOMS

·	MED RECORDS/RECEPTION SUPERVISOR

·	DO NOT EVACUATE THE BUILDING