# Medical Policy

Emergency Equipment

The Health Center shall maintain a basic functional set of emergency equipment at all times.  At a minimum the center shall have:

- Oxygen tank – the tank shall be checked monthly by a clinical staff member.  The tanks needs to be checked for the following:

    - Patency of the oxygen tubing.

    - Working condition of the valve outlet.

    - Volume of the tank according to the “capacity” gauge – to maintain at least half capacity.

- Ambu-bag – The bag needs to be checked monthly by a clinical staff member.  The bag needs to be checked for the following:

    - Leakage.

    - Cleanliness.

- Oral airway.

- Medication – the medication will be checked monthly for expiration dates:

    - Epinephrine 1:1000 solution.

    - Benadryl injectable.

    - Ammonia inhaler.